| Introduction: Definition of biomaterials, requirements of biomaterials, classification of biomaterials, Comparison of properties of some common biomaterials. Effects of physiological fluid on the properties of biomaterials. Biological responses (extra and intra-vascular system). Surface properties of materials, physical properties of materials, mechanical properties. Metallic implant materials: Stainless steel, Co-based alloys, Ti and Ti-based alloys. Importance of stress-corrosion cracking. Host tissue reaction with biometal, corrosion behavior and the importance of passive films for tissue adhesion. Hard tissue replacement implant: Orthopedic implants, Dental implants. Soft tissue replacement implants: Percutaneous and skin implants, Vascular implants, Heart valve implants-Tailor made composite in medium. Polymeric implant materials: Polyolefins, polyamides, acrylic polymers, fluorocarbon polymers, silicon rubbers, acetals. (Classification according to thermosets, thermoplastics and elastomers). Viscoelastic behavior: creep-recovery, stress-relaxation, strain rate sensitivity. Importance of molecular structure, hydrophilic and hydrophobic surface properties, migration of additives (processing aids), aging and environmental stress cracking. Physiochemical characteristics of biopolymers. Biodegradable polymers for medical purposes, Biopolymers in controlled release systems. Synthetic polymeric membranes and their biological applications. Ceramic implant materials: Definition of bioceramics. Common types of bioceramics: Aluminium oxides, Glass ceramics, Carbons. Bioresorbable and bioactive ceramics. Importance of wear resistance and low fracture toughness. Host tissue reactions: importance of interfacial tissue reaction (e.g. ceramic/bone tissue reaction). Composite implant materials: Mechanics of improvement of properties by incorporating different elements. Composite theory of fiber reinforcement (short and long fibers, fibers pull out). Polymers filled with osteogenic fillers (e.g. hydroxyapatite). Host tissue reactions. Biocompatibility & toxicological screening of biomaterials: Definition of biocompatibility, blood compatibility and tissue compatibility. Toxicity tests: acute and chronic toxicity studies (in situ implantation, tissue culture, haemolysis, thrombogenic potential test, systemic toxicity, intracutaneous irritation test), sensitization, carcinogenicity, mutagenicity and special tests. Sterilisation techniques: ETO, gamma radiation, autoclaving. Effects of sterilization on material properties. Testing of biomaterials/Implants: In vitro testing (Mechanical testing): tensile, compression, wears, fatigue, corrosion studies and fracture toughness. In-vivo testing (animals): biological performance of implants. Ex-vivo testing: in vitro testing simulating the in vivo conditions. Standards of implant materials. |  |
| --- | --- |

Test books

1.  J B Park, Biomaterials - Science and Engineering, Plenum Press , 1984.

2.  Sujata V. Bhat, Biomaterials, Narosa Publishing House, 2002.

References  
1.  Jonathan Black, Biological Performance of materials, Marcel Decker, 1981

2.  C.P.Sharma & M.Szycher, Blood compatible materials and devices,  Technomic

Publishing Co. Ltd., 1991.

3.  Piskin and A S Hoffmann, Polymeric Biomaterials (Eds), Martinus Nijhoff Publishers.

(Dordrecht. 1986)

4.  Eugene D. Goldbera , Biomedical Ploymers, Akio Nakajima.

5.  A . Rembaum & M. Shen, Biomedical Polymers, Mercer Dekkar Inc. 1971

6.  Lawrence Stark & GyanAgarwal , Biomaterials

7.  L. Hench & E. C. Ethridge, Biomaterials - An Interfacial approach.

| Introduction of mechanics: Review of the principles of mechanics, Vector mechanics- Resultant forces of Coplaner & Non-coplaner and Concurrent & non-concurrent forces, parallel force in space, Equilibrium of coplanar forces, Newton’s laws of motion, Work and energy, Moment of inertia. Hard tissues: Bone structure & composition mechanical properties of bone, cortical and cancellous bones, viscoelastic properties, Maxwell & Voight models – anisotropy, Electrical properties of bone, fracture mechanism and crack propagation in bones, fracture fixators, repairing of bones, mechanical properties of collagen rich tissues, teeth and its properties. Soft tissues: Structure and functions of cartilages, tendons, ligaments, stress-strain relationship, soft tissue mechanics, mechanical testing of soft tissues standard sample preparation, cross-section measurement, clamping of the specimen, strain measurement, environmental control), time dependent properties of testing. Biomechanics of joints: Skeletal joints, skeletal muscles, basic considerations, basic assumption and limitations, forces and stresses in human joints, mechanics of the elbow, mechanics of shoulder, mechanics of spinal column, mechanics of hip, mechanics of knee, mechanics of ankle. Locomotion: Human locomotion, gait analysis and goniometry, Ergonomics, Foot Pressure measurements – Pedobarograph, Force platform, mechanics of foot. Total Hip Prosthesis: requirements, different types of components, Stress analysis & instrumentation, Knee Prosthesis. Cardiovascular mechanics: Heart valves, artificial heart valves, biological and mechanical valves development, Heterogrils, Homograil, testing of valves. Fluid mechanics: introduction, viscosity and capillary viscometer, Rheological properties of blood, laminar flow, Couette flow and Hagen-poiseuille equation, turbulent flow. |  |
| --- | --- |

Text Books

1.  Alexander R Mc Neill, Biomechanics, Chapman and Hall, 1975

2.  D N Ghista, Biomechanics of Medical Devices, Macel Dekker, 1982

References 
1.  A Z Tohen and C T Thomas, Manual of Mechanical Orthopaedics

2.  D N Ghista and Roaf, Orthopaedic Mechanics, Academic Press

3.  VC Mow and W C Hayes, Basic Orthopedic Biomechanics, Lippincott, Raven

publishers.

| Body fluid: Properties of body fluid, determination of conduction of body fluid, measurement of EMF of cells, temperature and reaction rates: Arrhenius equation. Photochemical reaction, the law of photochemistry, fluorescence and phosphorescence, Principles of colorimeter, Beer-Lambert’s law, biometrics. Biophysical activity of heart: electrical activity of the heart, monophonic and biphasic recordings, original and propagation of excitation & contraction, refractoriness, regular and ectopic pace makers, electrocardiography, waveform and measurement, ECG in diagnosis, arrhythmia’s, flutter, fibrillation, vulnerable period, phonocardiography, ballistocardiography. Biophysical activity of brain and other organs: electrical activity of brain, waveforms & measurements, electrogastrography, electroneurography, nerve conduction studies, electroretinography, electroocculography, recording electrodes, interfaces, skin contact impedance, biological transducers, receptor potentials. Introduction to electrical simulation: impedance & current distribution, dielectric properties of biological materials, skin impedance, total body impedance, impedances at high frequencies, high voltage & transient properties, patient safety, electrical shocks and hazards, leakage currents, types & measurements, protection against shock, burn & explosion hazards. Radioactivity: Radio emission, radioisotopes, law of radioactive decay, half life period, production of radio isotopes for medical use, electromagnetic radiation, interaction of radiation with matter, exponential attenuation, half value thickness, photo electric, Compton and pair production process and their significance in radiology, radiation units, detection and measurements of radiation Introduction of ultrasonic wave: Ultrasonic wave motion, wave characteristics, intensity, and ultrasound properties in body (velocity, attenuation, reflection, refraction and absorption). Use of ultrasound in biological field. Introduction of magnetic field: Optical activity and magnetic rotation of substances, dipole moments, magnetic properties of substances. Useful and harmful effects of magnetic fields, radio waves, micro waves, ultra violet radiation and infrared radiation on human beings - Applications. Effect of hypothermia and hyperthermia. Production of ultra low and low temperature for medical use. Standards: BIS standards, ISO regulations, Electrical safety and regulation to keep the hospital environment safe, medical ethics. |  |
| --- | --- |

Text books

1. W.R.Hendee & E.R.Ritenour,  Medical Imaging Physics (3rd eds), Mosbey Year-Book,

Inc., 1992.

2.  W.R.Hendee & E.R.Ritenour, Medical Physics.

3.  Massey and Meredeth, Medical Physics.

References

1.  Plummer, Bio Chemistry - The chemistry of Life, Mc Graw Hill.

2.  Kuchel, Bio Chemistry, Schaum Series Mc Graw Hill.

3.  Patrick Rcully, Electrical Simulation & Electropathology, Cambridge University press 4.  Joseph Bronzino, Biomedical Instrumentation.

5.  Khandpur R S, Handbook of Analytical Instrumentation, Tata Mc Graw Hill

6.  Khandpur R S, Handbook of Medical Instrumentation, Tata Mc Graw Hill

7.  David Cooney, Principles of Biomedical Engineering.

8.  Snell et al, Bio Physical Principles of Structure and functions

9.  Ruch and Patton, Bio Physics and Medical Physiology

| Number circuits: Logic gates, logic families and their characteristic–Bipolar logic, TTL logic, CMOS logic,CMOS-TTL interfacing. Combinational logic design: Switching algebra, combinational circuit analysis, combinational circuit synthesis, minimization methods-Karnaugh map,VEM, Quine McCluskey, timing issues, Hazards, Combinational design using MSI and LSI DECODERS, Multiplexers, Encoders, Comparators, Arithmetic Circuits, Tristate logic, combinational logicdesign using PLDs. Sequential logic design: Need for sequential circuits, binary cell, latches and flip-flops, clocked synchronous state machine analysis, clocked synchronous state machine design-ASM charts, state minimization, state assignment, synthesis using D-FF and JK-FF , asynchronous state machines, counters, shift registers, MSI devices as state machines, Practical issues in state machine design, sequential logic design with PLDs. |  |
| --- | --- |