Model Question Paper

DSA3-DSC3-DSCO3-DSE3-DSET3-DSM3 - ELECTRICAL TECHNOLOGY

Time : 3 hrs		                			                                Maximum marks : 75

Instruction:

1.	Question paper is divided into Group A, Group B and Group C

2.	Each Group is 25 Marks

3.	Figure to the right in bracket indicates marks.

4.	Good Handwriting is expected

5.  	Assume suitable data if necessary.

Group A (25 Marks)

Answer any three questions (Question 1 is compulsory)

Q.1. Explain charging & discharging of capacitor . 					(5)

Q.2. Explain principle of operation and chemical action of lead Acid Battery . 		(10)

Q.3. Explain the magnetisation curve or B-H curve. 					(10)

Q.4. Explain dynamic & static induced emf .						(10)

Q.5. What is eddy current & eddy current losses? How we can avoid or minimize it ? 	(10)

Group B (25 Marks)

Answer any three questions (Questions 6 is compulsory)

Q.6. A cell can supply 1A for 20 hour. what is An rating ? How long it supply 0.5 A. 	(5)

Q.7. A multiplate capacitor has 10 plates . Area of each plate cs 100 cm and space between each is filled with mica sheet of thickness 0.1 mm & dedectic constant 10 			(10)

Find 	(a) capacitance	b) charge ' electric flux density

c) voltage gradient of 200 v applied battery

Q.8. The capacitance of a capacitor formed by two parallel metal plates each 200 cm2 in area separated by a dielectric 4 mm thick is 0.0004 Mf. A p.d. of 20,000 v is applied calculate (a) Total charge on  plates (b) potential graduent in V/m (c) relative permitivity of dielectric (d) Electric flux density. 										(10)

Q.9. Device the expression for leftwing power of a magnet. 				(10)

Q.10. What is Biot savart Law ? Find the magnetic field strect due to fenite length of wire carrying current . 										(10)

Group C (25 Marks)

All Questions are Compulsory.

Q.11 	Fill in the blanks ( each question carry 2 marks)

1.	Power	= ………………………………………

- S.I. unit of energy is ………………………………

- Energy stored in capacitor is ……………………………….

- Energy stored in inductor is ………………………………….

- Mutual inductance M = ………………………………………..

Q.11	Multiple choice Question (Each question carries 2 marks)

1. 	Ohms is unit of

i) Conductance			ii) Resistance

iii) Inpedance				iv) Resistance & indigence

2	Unit of charge in

i) Colump		2) Joale		3) Weber	4) Electric volt

3	Kirchoff current law is applicable to

a) closed loops in network 		b) Electronic circuit

c) Function in network		d) electric circuit

4	Maxwell loop current method is used of solving electrical network

i) uses branch current		ii) citizens KVL

iii) is confined to single network	iv) is a network reduction method

5	Magnitude of induced emf in a conductor depend on

i) Amount of flux cut			ii) Amount of flux linkage

iii) Rate of change of flux linkage	iv) Flux density magnetic field

Q.11 	True or false (each question carry 1 marks).

- Permeability is analogues to conductivity

- Flux density near one end of solenoid is B. the flux density at centre is 2 B

- The iron core of coil is removed so that it heeler an coil inductance will decease.

- Relative permeability of ferromagnetic matual is generally more than 1000.

- Hysterssis loop of material of coe of ac machine should enclosed only small area.

****************